## list
Line | Item | Description | Quantity | Unit
1 | 139303 | Tube,Metallic, Platen Superheater_Round, OD. 38 mm x 5.7 MWT, Length 8000 mm, Mat'l SA213-T91, SI no. 1.1.1.5, for Boiler, VALLOUREC & MANNESMANN TUBES or equivalent | 12 | piece
2 | 139304 | Tube,Metallic, Platen Superheater_Round, OD. 38 mm x 6.8 MWT, Length 8000 mm, Mat'l SA213-T91, SI no. 1.1.1.6, for Boiler, VALLOUREC & MANNESMANN TUBES or equivalent | 19 | each
3 | 139305 | Tube,Metallic, Final Superheater_Round, OD. 44.5 mm x 6.3 MWT, Length 8000 mm, Mat'l SA213-T91, SI no. 1.1.1.7, for Boiler, VALLOUREC & MANNESMANN TUBES or equivalent | 14 | piece
4 | 139306 | Tube,Metallic, Platen Superheater_Round, OD. 38 mm x 6.7 MWT, Length 8000 mm, Mat'l SA213-TP347H, SI no. 1.1.1.8, for Boiler, VALLOUREC & MANNESMANN TUBES or equivalent | 13 | piece
5 | 139307 | Tube,Metallic, Final Superheater_Round, OD. 44.5 mm x 7.3 MWT, Length 8000 mm, Mat'l SA213-TP347H, SI no. 1.1.1.9, for Boiler, VALLOUREC & MANNESMANN TUBES or equivalent | 12 | piece
6 | 139310 | Tube,Metallic, Primary Reheater_Round, OD. 57.1 mm x 4 MWT, Length 8000 mm, Mat'l SA213-T12, SI no. 1.1.2.3, VALLOUREC & MANNESMANN TUBES or equivalent | 6 | piece
7 | 139312 | Tube,Metallic, Final Reheater_Round, OD. 57.1 mm x 4 MWT, Length 12000 mm, Mat'l SA213-T91, SI no. 1.1.2.5, VALLOUREC & MANNESMANN TUBES or equivalent | 12 | piece
8 | 139313 | Tube,Metallic, Final Reheater_Round, OD. 51 mm x 4 MWT, Length 8000 mm, Mat'l SA213-TP347H, SI no. 1.1.2.6, VALLOUREC & MANNESMANN TUBES or equivalent | 13 | piece
9 | 139314 | Tube,Metallic, Final Reheater_Round, OD. 57.1 mm x 4 MWT, Length 8000 mm, Mat'l SA213-TP347H, SI no. 1.1.2.7, VALLOUREC & MANNESMANN TUBES or equivalent | 12 | piece
10 | 139317 | Tube,Metallic, Ribbed, OD. 34.9 mm x 6.1 MWT, Length 12000 mm, Mat'l SA213-T12, SI no. 1.1.4.1, VALLOUREC & MANNESMANN TUBES or equivalent | 15 | piece
11 | 139318 | Tube,Metallic, Ribbed, OD. 37.3 mm x 6.5 MWT, Length 7350 mm, Mat'l SA213-T12, SI no. 1.1.4.2, VALLOUREC & MANNESMANN TUBES or equivalent | 9 | piece
12 | 139319 | Tube,Metallic, Round, OD. 34 mm x 6.1 MWT, Length 12000 mm, Mat'l SA213-T12, SI no. 1.1.4.3, VALLOUREC & MANNESMANN TUBES or equivalent | 1 | piece
13 | 139320 | Tube,Metallic, Round, OD. 34 mm x 6.8 MWT, Length 12000 mm, Mat'l SA213-T12, SI no. 1.1.4.4, VALLOUREC & MANNESMANN TUBES or equivalent | 1 | piece
14 | 139322 | Tube,Metallic, Round, OD. 63.5 mm x 10 MWT, Length 12010 mm, Mat'l SA213-T23, SI no. 1.1.4.6, VALLOUREC & MANNESMANN TUBES or equivalent | 2 | piece
15 | 139323 | Tube,Metallic, Round, OD. 31.8 mm x 4.2 MWT, Length 7320 mm, Mat'l SA213-T12, SI no. 1.1.4.7, VALLOUREC & MANNESMANN TUBES or equivalent | 6 | piece
16 | 139326 | Tube,Metallic, Round, OD. 57 mm x 7.4 MWT, Length 10770 mm, Mat'l SA213-T12, SI no. 1.1.4.10, VALLOUREC & MANNESMANN TUBES or equivalent | 4 | piece
17 | 139309 | Tube,Metallic, Primary Reheater_Sling Round, OD. 50.8 mm x 10 MWT, Length 8000 mm, Mat'l SA213-T12, SI no. 1.1.2.2, VALLOUREC & MANNESMANN TUBES or equivalent | 5 | piece
18 | 176152 | Tube,Metallic, Round, OD. 44.5 x 7.3 MWT, Length 6000 mm., Part no. SA213-T92, DOOSAN or equivalent | 8 | each
19 | 176153 | Tube,Metallic, Round, OD. 38 x 6.2 MWT, Length 6000 mm., Part no. SA213-T91, DOOSAN or equivalent | 8 | each
20 | 176154 | Tube,Metallic, Round, OD. 63.5 x 10 MWT, Length 6000 mm., Part no. SA213-T22, DOOSAN or equivalent | 4 | each
21 | 176155 | Tube,Metallic, Round, OD. 21.3 x 5.5 MWT, Length 6000 mm., Part no. SA213-T12, DOOSAN or equivalent | 4 | each
22 | 176156 | Tube,Metallic, Round, OD. 51.0 x 4.8 MWT, Length 6000 mm., Part no. SA213-T91, DOOSAN or equivalent | 8 | each
23 | 176157 | Tube,Metallic, Round, OD. 38.0 x 6.8 MWT, Length 6000 mm., Part no. SA213-T12, DOOSAN or equivalent | 8 | each