## Feuil1
description | size | rating | qty
TUBE SS, SMLS, AISI TP 316L / ASISI TP 904L HIGH PRESSURE | 1/2" | HP | 500
ELBOW 90° AISI F 316L / ASTM A 182/182M DOUBLE COMPRESSION TYPE NPT ASME B16.11 | 1/2" | HP | 20
EQUAL TEE AISI F 316L / ASTM A 182/182M DOUBLE COMPRESSION TYPE NPT ASME B16.11 | 1/2" | HP | 20
COUPLING / CONNECTOR AISI F 316L / ASTM A 182/182M DOUBLE COMPRES-SION TYPE NPT ASME B16.11 | 1/2" | HP | 200
CONNECTOR, MALE, NPT, AISI F 316L / ASTM A 182/182M DOUBLE COMPRES-SION TYPE, ASME B16.11 | 1/2" | HP | 40
NEEDLE VALVE AISI F 316L / ASTM A 182/182M DOUBLE COMPRESSION TYPE, FEMALE NPT, ASME B16.11, VALVE HANDLE TYPE T-BAR, PACKING MATERIAL PTFE/VITON, FORGED BODY | 1/2" | 6000psi | 30
CHECK VALVE AISI F 316L / ASTM A 182/182M DOUBLE COMPRESSION TYPE, FEMALE, NPT, ASME B16.11, VALVE HANDLE TYPE T-BAR, PACKING MATERIAL PTFE/VITON, FORGED BODY | 1/2" | 6000psi | 15
FLANGE, NPT, CL 1500# RF, ASME B16.5, SS, ASTM A 182/A182M, F316 | 1/2" | cl1500 | 15
STUD BOLT + 2HEAVY HEX NUTS, ASME B18.31.2, Stainless steel ASTM A193 B8M /Nuts ASTM A194 8M | 3/4"/115 | cl1501 | 60
RTJ NO.12 GASKET RING | rtj NO12 | cl1502 | 15